Flanged Injector - Chemical Injection Assembly

Section 11XXX

1.   Type: Flanged Chemical Injector

2.  Connection:  Designed to fit inside a __ inch diameter schedule 40 flanged additive port.  Injector flange to be sandwiched between additive port flange and drilled & tapped blind flange with 1/8” Teflon gaskets.

3.  Construction:

Chemical injector assembly shall come complete with injector assembly and flange gaskets. Solution tube shall be constructed of (material of construction).  Solution tube shall be __ long.

Chemical Injector should be designed to allow for easy insertion and withdrawal without binding or bending of the diffuser.  All wetted components shall be compatible with the chemical services.   Model “_____” manufactured by Inyo Process or equal that has been preapproved by engineer before the bid.